# NKUA Seismological Stations

* LAKA, Lakka: Station is OK.
* KALE, Kallithea: Station is OK.

# NKUA Accelerometric Stations

* DRES, Drepano: GPS failure since 2/7/2022. Disconnection/rebooting issues. Timing through NTP needs to be set manually to the accelerograph (there is always an offset to the time).
* AIGS, Aigion: No GPS. Timing through NTP is set automatically to the accelerograph every day around 23:05 UTC (there is always a gap and an expected offset to the time).
* NAFS, Nafpaktos: Station is down since 2021/12/24. Problem with ETNA memory card.
* CORS, CORSSA (Aigion array): Battery issues. Only few channels are working at a time likely due to low voltage. Disconnection issues, probably related to low battery.